擴散火焰Rayleigh溫度量測

This paper describes an optical Rayleigh scattering temperature measurement in diffusion flames. The principle setup and procedure of this technique were described. According to the principle of this technique, a constant Rayleigh cross section throughout the measurement domain is the simplest way to achieve this measurement. This can be done by using special fuel and oxidizer mixtures. It was shown in this study that the fuel mixture contained methane and light molecules, such as helium, did not exhibit constant Rayleigh cross section, which could result in incorrect temperature information. After careful selection of the fuel and oxidizer mixtures, the obtained data showed that the highest temperature of the flame is around 1950K, and the maximum temperature occurs at the flame sheet location and decreases toward both fuel and oxidizer sides of the flame, as expected.