定量與非定量拘限噴射流之量測

盧博堅; 賴和成

In this study a simple pulsatile jet flow with two separate pulsefrequencies of 1.33 Hz and 2.0 Hz, which respectively correspond toheart rates of 80 and 120 beats per minute under physiologicalconditions, was used to measure the major principal Reynolds shearstress and turbulence length scales in the flow. Although the Reynoldsnumbers during the peak phases of the pulsatile flows, namely Re =55800 and 58400, are apparently larger than those of steady flows withRe = 22000, 28500, and 35000, the maximum major principal Reynoldsshear stress values measured during the peak phases of the pulsatileflows are significantly smaller. A value of 0.0065 was obtained inthis study, while 0.0093 was measured in the steady flows, differingby approximately 40%. On the other hand, the turbulence length scalesin both kinds of flow fields are relatively similar. This shows thatusing a steady jet flow to represent the peak phase of pulsatile flowwhile studying artificial prostheses could cause an overestimation ofthe turbulence stress values.